## Telemetry Data
Sunscrap Solar SCADA — Plant Generation & Summary Report
Period: Daily Period ¦ Scope: Daily Aggregate ¦ Generated: 2026-10-23 07:56:18
Date | Inverter 01 (kWh) | Inverter 02 (kWh) | Inverter 03 (kWh) | Inverter 04 (kWh) | Inverter 05 (kWh) | Inverter 06 (kWh) | Inverter 07 (kWh) | Inverter 08 (kWh) | Inverter 09 (kWh) | Inverter 10 (kWh) | Inverter 11 (kWh) | Inverter 12 (kWh) | Inverter 13 (kWh) | Summed Yield (kWh) | Meter Export (kWh) | Meter Import (kWh) | Net Export (kWh) | CUF 24h (%) | GHI Insolation (kWh/m²) | Ambient Temp (°C) | Module Temp (°C) | Coverage (%)
2026-10-23 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 917.02 | 11921.26 | 11778.2 | 12.5 | 11765.7 | 12.74 | 4.82 | 38.1 | 51 | 100
2026-10-22 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 901.82 | 11723.66 | 11582.98 | 12.5 | 11570.48 | 12.53 | 4.72 | 37.6 | 50.2 | 100
2026-10-21 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 886.62 | 11526.06 | 11387.75 | 12.5 | 11375.25 | 12.31 | 4.62 | 37.1 | 49.4 | 100
2026-10-20 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 871.42 | 11328.46 | 11192.52 | 12.5 | 11180.02 | 12.1 | 4.52 | 36.6 | 48.6 | 100
2026-10-19 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 856.22 | 11130.86 | 10997.29 | 12.5 | 10984.79 | 11.89 | 4.42 | 36.1 | 47.8 | 100

## Metadata & Quality
Report Metadata & Quality Audit
Report Title | Plant Generation & Summary Report
Report Type | summary
Period Scope | Daily Period
Interval Resolution | Daily Aggregate
Data As Of (UTC/Local) | 2026-10-23 07:56:18.294941+00:00
Snapshot ID | 8af0a48d-76a8-48c6-bb97-93e7daab8f5b
Total Filtered Rows | 5
Plant Name | Sunscrap Solar Plant
Organization | Sunscrap Recyclers PVT LTD
Configured AC Capacity | 3,900 kW
Configured DC Capacity | 4,640 kWp
Plant Timezone | Asia/Kolkata
Quality Standard | IEC 61724-1 Standard Compliance